# Real Time Location System (RTLS) Automated Engineering Management System-Medical Equipment Reporting System (AEMS-MERS) Infor Location Based Intelligence (LBI)

# Interface Control Document

May 2022

Version 1.24

Department of Veterans Affairs

Revision History

| Date | Version | Description | Author |
| --- | --- | --- | --- |
| 05/2022 | 1.24 | Version Update | Team Booz Allen Hamilton (BAH, Team Liberty) |
| 02/14/2022 | 1.23 | Updating VistA interface to address incorrect xml payload code contained in response sent back to VistA | Team Liberty |
| 11/22/2021 | 1.22 | Updated for additional functionality added to identify RTLS Records that have no match in AEMS-MERS (populates ‘ERR404’ in RTLS Short Name filed) | Team Liberty |
| 10/26/2021 | 1.21 | No Update – Performing an Upgrade of MuleSoft to Version 4.3 | Team Liberty |
| 08/31/2021 | 1.20 | Version Update | Team Liberty |
| 3/27/2021 | 1.19 | Version Update | S. Kennedy |
| 09/20/2020 | 1.18 | Version Update | S. Kennedy |
| 11/07/2019 | 1.17 | Subsequent submission to VA Update to Version numbers | S. Edwards S. Kennedy |
| 02/12/2016 | 1.16 | Documented changes to: - Date processing for inventory updates to AEMS-MERS - External Reference Key for Locations - Exception reporting - Special character handling Added explanation for RESPONSIBLE SHOP data element. | HP |
| 09/10/2014 | 1.15 | Updated to describe encryption of sensitive fields in the rlts.properties file. | M. Hatanaka |
| 08/15/2014 | 1.14 | Subsequent submission to VA | HP |
| 08/13/2014 | 1.13 | Removed old web services appendix B. Added new Appendix B (ESB endpoints) and new Appendix C (VistaService API calls). Added appendix for Acronyms. Updated POC in 1.4 per Rita/Amy. Checked and updated all cross-references to old appendices. |  |
| 08/04/2014 | 1.12 | Accepted all track changes from previous submission. Updates added from recent VA feedback | HP |
| 07/14/2014 | 1.11 | Subsequent submission to VA | HP |
| 07/11/2014 | 1.10 | Updated Appendix B after dev review. | M. Hatanaka |
| 07/10/2014 | 1.09 | Proposed changes to Appendix B to tie in the RPC names. Needs dev review. | M. Hatanaka |
| 07/09/2014 | 1.08 | Updated: - section 2.3.1 to describe UNKN - 2.3.2.1 to remove references to the API calls using a batch method - 6.2 to provide additional details in pseudo code. | M. Hatanaka |
| 07/09/2014 | 1.07 | Update to multiple section based on VA feedback | R. Muller |
| 07/09/2014 | 1.06 | Update to sections 6.2.1 | M. Hatanaka |
| 06/16/2014 | 1.05 | Subsequent Submission to VA | HP |
| 10/22/2013 | 1.04 | Updated to remove BRIEF DESCRIPTION from the data element section. THIS IS THE APPROVED SUBMISSION VERSION FROM THE VA. | HP |
| 10/22/2013 | 1.03 | Update to section 6.2 to clarify data element | HP |
| 10/03/2013 | 1.02 | Subsequent Submission to VA | HP |
| 06/03/2013 | 1.01 | Subsequent Submission to VA | HP |
| 04/19/2013 | 1.0 | Initial Submission to VA | HP |

Table of Contents

1.	Purpose	1

1.1.	Scope	1

1.2.	References	1

1.3.	System Identification	1

1.4.	Operational Agreement	2

2.	Interface Definition	2

2.1.	System Overview	4

2.2.	Interface Overview	5

2.3.	Operations	6

2.3.1.	Equipment Details / New Equipment / Equipment Types	6

2.3.2.	Equipment Inventory	8

2.3.2.1.	Static Passive Bulk Inventory Updates	10

2.3.2.2.	Static Active Bulk Inventory Update	12

2.3.3.	Exception Reporting	14

2.3.3.1.	Invalid Location Report	14

2.3.3.2.	Unmapped Location Report	16

2.3.3.3.	VistA Space File Update Notifications	16

2.4.	Data Transfer	17

2.5.	Transaction Types	17

2.6.	Data Exchanges	17

2.7.	Precedence and Criticality	17

2.8.	Communications Methods	17

2.9.	Performance Requirements	18

2.10.	Security	18

3.	Interface Requirements	18

3.1.	Interface #1 Requirements	18

3.1.1.	Interface Processing Time Requirements	18

3.1.2.	Message/File Requirements	19

3.1.3.	Communication Methods	19

3.1.3.1.	Interface Initiation	19

3.1.3.2.	Flow Control	19

3.1.4.	Security Requirements	19

3.1.5.	Physical Requirements	19

3.1.6.	Structural Requirements	19

3.1.7.	Mechanical Requirements	19

3.1.8.	Electrical Requirements	19

3.1.9.	Thermal Requirements	20

3.1.10.	Special Fluid Requirements	20

3.1.11.	Signal Requirements	20

3.2.	Interface #2 Requirements	20

4.	Interface Verification	20

5.	Interface Control	20

5.1.	Electrical Interface	20

6.	Appendix A – Data Elements	20

6.1.	Data Structure	20

6.2.	Data Elements	20

6.2.1.	RTLS Equipment Type Determination	30

7.	Appendix B – ESB Orchestration Endpoints	32

7.1.	Equipment Detail Updates	32

7.1.1.	VistaService Dependency	33

7.2.	New Asset Detail Population	33

7.3.	Moved Equipment Inventory	33

7.3.1.	VistaService Dependencies	34

7.4.	Static Equipment Inventory (Active Tagged)	34

7.4.1.	VistaService Dependencies	35

7.5.	Static Equipment Inventory (Passive Tagged)	35

7.5.1.	VistaService Dependencies	35

7.6.	Space Fie Notification	36

7.6.1.	VistaService Dependency	36

7.7.	Invalid Location Report (Locations with invalid External Reference)	36

7.7.1.	VistaService Dependency	37

7.8.	Unmapped Location Report (Locations without External Reference)	37

7.8.1.	VistaService Dependency	37

8.	Appendix C - VistaService RESTful API Endpoints	37

8.1.	Individual Equipment Details	38

8.1.1.	Sample Request and Successful Response	38

8.1.2.	Sample Request and Error Response	39

8.2.	Equipment Listing	39

8.2.1.	Sample Request and Successful Response	39

8.3.	Location Listing	40

8.3.1.	Sample Request and Successful Response	40

8.3.2.	Sample Request and Error Response	40

8.4.	Individual Location	41

8.4.1.	Sample Request and Successful Response	41

8.4.2.	Sample Request and Error Responses	41

8.5.	Individual Equipment Category	41

8.5.1.	Sample Request and Successful Response	41

8.5.2.	Sample Request and Error Responses	42

8.6.	Equipment Category Listing	42

8.6.1.	Sample Request and Successful Response	42

8.6.2.	Error Response	42

8.7.	Update Equipment Inventory	42

8.7.1.	Form Parameters	43

8.7.2.	Responses	43

9.	Appendix D – Mapping RTLS Locations to VistA	44

9.1.	Format of External References	44

9.1.1.	One-to-one Format	44

9.1.2.	Many-to-one Format	44

9.1.3.	Example of Many-to-one Mapping	44

10.	Appendix E - Acronyms	45

Table of Figures

Figure 1: High-Level View of the Interface and System Interactions	4

Figure 2: Flowchart for Equipment Details	7

Figure 3: Capture of VistA Updates via MUMPS Style Cross References	7

Figure 4: Mule Server Processing of VistA Updates	8

Figure 5: Flowchart for Equipment Inventory	10

Figure 6: Flowchart for Static Passive Bulk Inventory Update	12

Figure 7: Flowchart for Static Active Bulk Inventory Update	14

Figure 8: VistA Space File Update Notifications	17

List of Tables

Table 1: Automated Engineering Management System-Medical Equipment Reporting System	1

Table 2: Infor Location Based Intelligence Real Time Location System	2

Table 3: Criteria Explanation	8

Table 4: Explanation of Criteria	11

Table 5: Explanation of Criteria	13

Table 6: Explanation of Criteria	15

Table 7: AEMS-Entry-Type (custom RTLS attribute)	21

Table 8: Annual Value	21

Table 9: Assigned Location	21

Table 10: Capital Equipment	22

Table 11: Current Location	22

Table 12: Date Entered Current Location	22

Table 13: Equipment Type	23

Table 14: Expiration	23

Table 15: External References (for Equipment)	24

Table 16: External References (for Locations)	24

Table 17: Fixed Asset Number	25

Table 18: Last-Inventory-Date-Time	25

Table 19: Manufacturer	26

Table 20: Model	26

Table 21: Name	26

Table 22: Notes	26

Table 23: Owner	28

Table 24: Placed in Service	28

Table 25: Secondary Fixed Asset Number	28

Table 26: Serial Number	28

Table 27: Service Status	29

Table 28: Short Name	29

Table 29: Value	29

Table 30: Acronyms	45

# Purpose

This Interface Control Document (ICD) details the interaction between Infor Location Based Intelligence (Infor LBI) and Real Time Location System (RTLS) solution and the Department of Veterans Affairs (VA) Automated Engineering Management System-Medical Equipment Reporting System (AEMS-MERS). The ICD describes this interaction as defined in the RTLS Software Design Document and includes all system, software components, protocols and data elements employed for the purpose of interfacing the RTLS with AEMS-MERS.

## Scope

This ICD specifies the bi-directional interface between AEMS-MERS and RTLS. Upon formal approval for each participating system, this ICD shall be incorporated into the requirements baseline for each system. This document provides details on the functional, performance, operational and design requirements for the interface between AEMS-MERS and RTLS. This document describes the file parameters and record layouts for the data that AEMS-MERS receives from RTLS as well as the data that RTLS receives from AEMS-MERS. It is intended for all parties requiring such information, including software developers, system designers and testers responsible for implementing the interface.

## References

VistALink System Management Guide

VistALink Developer Guide

VistALink Installation Guide

Infor LBI Application Programming Interface (API) RESTful Web Services, v 2.0

Real Time Location System Master Test Plan

AEMS-MERS/Infor LBI RTLS Interface Software Design Document

[RTLS Installation Guide] RTLS ESE Interfaces Installation Guide

## System Identification

AEMS-MERS is one of the Department of Veterans Affairs (VA) System of Record for Inventory and Asset Management. In this interface, AEMS-MERS will receive last known physical location data for all equipment tracked and send asset detail information to RTLS for all equipment tracked.

RTLS will provide real time location information for all equipment tracked as well as reporting and analytical services.

Table 1: Automated Engineering Management System-Medical Equipment Reporting System

| System | Details |
| --- | --- |
| Title | Automated Engineering Management System-Medical Equipment Reporting System |
| Abbreviation | AEMS-MERS |
| Version/Release Number | 7.0 |
| Point of Contact | T3 Developer - Chi Wang - Chi.Wang@va.gov T2 Support - Theresa Morris - Theresa.Morris@va.gov |

Table 2: Infor Location Based Intelligence Real Time Location System

| System | Details |
| --- | --- |
| Title | Infor Location Based Intelligence (Infor LBI) |
| Abbreviation | RTLS |
| Version/Release Number | 5.4.x |
| Point of Contact | Taya Fischer Taya.Fischer@Infor.com |
| Vendor [optional] | Infor LBI |

## Operational Agreement

This ICD provides the specification for an interface between AEMS-MERS and RTLS regarding asset tracking requirements. The VA is responsible for notifying the Sustainment vendor Booz Allen Hamilton (BAH) of any potential or planned changes to AEMS-MERS once these changes are known in order to minimize adverse impacts on the interface.

Modifications to the ICD will be made by the RTLS Program ESE (Enterprise Systems Engineering) support team with a copy of the revised ICD sent to Veterans Health Administration (VHA) RTLS Program Management Office (PMO).

# Interface Definition

The AEMS-MERS/RTLS interface is a software solution orchestrated by a series of Enterprise Service Bus (ESB) flows. The ESB selected for the Enterprise RTLS solution is an open-source solution called Mule ESB. Mule ESB is a Java-based ESB and integration platform to facilitate message routing and data transformation.

A Mule ESB flow is a way to manage or orchestrate services. Flows provide a flexible method to build integrations by choosing building blocks from a standard list of defined components. By separating configuration information from the underlying code using building blocks, building, deploying and maintaining the interface is easier to manage.

Within the ESB flows, RESTful web services are employed on both ends to facilitate communication. Communication with RTLS is accomplished using the RESTful web service API as outlined in the Infor LBI Web Services Guide. Communication with VistA is managed with a series of RESTful web service methods designed for the RTLS Enterprise solution called VistaService. VistaService is an interface to VistA creating a uniform calling method for underlying MUMPS Remote Procedure Calls (RPCs). The RESTful web service methods provide a mechanism to encapsulate the VistALink calls into a standard format. This improves code maintainability, de-couples the service from the interface so multiple interfaces can use it and provides for future scalability of the interface.

VistaService has methods for creating, retrieving, and updating VistA data over HTTP using RESTful semantics. RESTful methods are called using a uniform resource locator (URL).

For more information about the RESTful web service methods used, see Appendix C - VistaService RESTful API Endpoints.

The AEMS-MERS/RTLS interface is designed to implement a data synchronization process. Mule ESB is hosted on standalone server and orchestrates read and update operations between the RTLS system and AEMS-MERS to keep asset location data and asset details data synchronized. This synchronization is controlled through both scheduled jobs which run at a configurable time frequency and data updates to VistA captured via MUMPS Style Cross References.

The following processes comprise the complete feature set of the interface:

Equipment Details / New Equipment / Equipment Types

Equipment Inventory

For more information about the processes, see section 2.3.

Additionally, location change notifications are sent to designated RTLS system users to enable them to take necessary corrective actions at their discretion.

VistA RPCs are invoked by VistaService methods through the VistALink Adapter deployed as a separate component on the WebLogic server. The adapter is Transmission Control Protocol/Internet Protocol (TCP/IP) based and provides connection pooling for enhanced scalability. It is deployed using the VA standard as described in section 2 of the VistALink System Management Guide. VistaService methods invoke RPCs using the VistALink APIs described in the VistALink Developer Guide.

Figure 1 provides a high-level view of the interface and system interactions.

Figure 1: High-Level View of the Interface and System Interactions

Subsequent sections of this document provide detailed process flow and configuration descriptions.

## System Overview

VA Medical Centers (VAMC) are responsible for tracking all assets. The VA currently employs asset tracking tools to assign codes to individual assets as they are deployed at VAMCs. Data about these assets, including equipment maintenance records, are managed by an automated system called AEMS-MERS.

AEMS-MERS is currently used for asset tracking and allows for identification of the assets and associated data maintenance. Locating the assets in the facility; however, is currently accomplished through manual tracking.

RTLS provides the VA with not only the technology platform, but also the process expertise and methodologies to resolve current issues with asset tracking.

## Interface Overview

VistaService property and configuration files reside in the HEV_CONFIG directory on the WebLogic server. The location of the HEV_CONFIG directory is in accordance with the standard specified in section 4.4.1 of the VistALink Installation Guide.

The property and configuration files are as follows:

vistaservice.properties

This is a standard Java properties file that defines environment-specific properties for the RESTful web services including host addresses, ports, protocols, and authentication credentials for the AEMS-MERS system. The RESTful web service re-authenticates its connections using an application proxy user, as opposed to a DUZ or VPID, as detailed in section 8.4.2 of the VistALink System Management Guide. The application proxy user is set in the AEMS_VISTA_APPLICATION_PROXY_USER property based on the name established in the target M System.

gov.va.med.VistALink.connectorConfig.xml

This is the standard configuration file used to deploy the VistALink Resource Adapter based on the connectorConfig.xml schema bundled in the VistALink distribution ZIP file. This file is used by the VistALink connector deployment to create a connection pool that applications running on the WebLogic server use to execute RPCs on the M System.

The file must contain one enabled connector proxy user definition based on the schema’s connector element. The M System access-code and verify-code entries should be encrypted.

<xs:complexType name=”connector”>

<xs:attribute name=”primaryStation” type=”xs:string” use=”required”/>

<xs:attribute name=”jndiName” type=”xs:string” use=”required”/>

<xs:attribute name=”ip” type=”xs:string” use=”required”/>

<xs:attribute name=”port” type=”port-number” use=”required”/>

<xs:attribute name=”access-code” type=”xs:string” use=”required”/>

<xs:attribute name=”verify-code” type=”xs:string” use=”required”/>

<xs:attribute name=”encrypted” type=”xs:boolean” use=”optional” default=”false”/>

<xs:attribute name=”enabled” type=”xs:boolean” use=”required”/>

<xs:attribute name=”timestamp” type=”xs:dateTime” use=”optional”

<xs:attribute name=”timeout” type=”timeout-number” use=”optional” default=”15”/>

<xs:attribute name=”always-use-default-as-min” type=”xs:boolean” use=”required”/>

<!-- disabling ‘scoped’ for now.-->

<!-- xs:attribute name=”scoped” type=”xs:boolean” default =”false” use =”optional”/ -->

</xs:complexType>

log4j.xml

This is a standard configuration file for the Java open source Log4j framework and defines the level of detail and delivery mechanism for application logging.

Note: Within the rtls.properties file, userids and passwords are encrypted using Triple-DES cryptography (PBEWithMD5AndTripleDES) which is then encoded as base64 string values. For a comprehensive list of properties, see the RTLS Installation Guide.

## Operations

The AEMS-MERS interface suite is comprised of several interface processes to synchronize the equipment tracking data between VistA and RTLS.

The interface processes include:

Equipment Details / New Equipment / Equipment Types

Equipment Inventory

Exception Reporting

### Equipment Details / New Equipment / Equipment Types

The equipment details process is a unidirectional flow, detecting changes in the Equipment Inventory file in AEMS-MERS and pushing the specified fields to the RTLS system. This is a triggered process, using MUMPS Style Cross References on the EQUIPMENT INV file (#6914) which queue a record in a new VistA file named PENDING RTLS EVENTS (#6930) that will be pushed by a TaskMan process to an interface web service via the Health-E-Vet Web Service Client interface. A MUMPS Style Cross Reference identifies an action that should take place when the value of fields defined in that cross-reference are changed. This provides timely updates of RTLS with data maintained in AEMS-MERS. See Figure 2 for more information on the overall process flow. See Figure 3 and Figure 4 for detailed information about the processing triggered by the MUMPS Style Cross References.

For each item that is processed, an additional check is run to ensure the AEMS-MERS equipment type designation referenced by Category pointer corresponds with a valid value known to the RTLS system. See section 6.2.1 for more information about the pseudo code for determining a valid equipment type.

A bulk update process is designed to batch individual equipment details for all assets within a station (i.e., VAMC). The bulk update process queries for a list of all assets in a specified station and loops through calling the equipment details process for each asset. The purpose of this process is to periodically re-synchronize all assets between both systems.

The new equipment process is a batch process that detects new equipment items in RTLS and updates the new equipment with additional data elements from AEMS-MERS. AEMS-MERS equipment items are initially created in RTLS with a subset of data elements. The process detects new equipment items by checking to see if the RTLS Short Name field contains “UNKN”. The RTLS Short Name field is set to “UNKN” when an AEMS-MERS asset is tagged, and a new asset record is added to the RTLS system. (Note: The Short Name Field MUST be ‘UNKN’ for the record to be chosen for automatic updating; if it is anything else (such as ERR404 – see Table 28 in Appendix A), then the record will not update automatically.)

Figure 2: Flowchart for Equipment Details

Figure 3: Capture of VistA Updates via MUMPS Style Cross References

Figure 4: Mule Server Processing of VistA Updates

### Equipment Inventory

The Equipment Inventory process is a scheduled batch operation, that periodically queries the RTLS system via a RESTful API call for a list of equipment from those assets currently located within the specified Station that has been scanned/sensed by RTLS since the last synchronization.

The fetches are performed using the Infor LBI RESTful Web Service API. The semantics of this API are documented in the Infor LBI Web Services Guide. Below is an example of the RESTful API call to RTLS.

http:// Server Name/api/2.0/rest/equipment.xml?select=id%2Curi& filter=current-location in '< insitesCampusId>' and date-entered-current-location ge '<lastSynchronizationDate>'

Everything appearing after /api/2.0/rest/ defines the query criteria. The following table provides an explanation of the criteria.

Table 3: Criteria Explanation

| Criteria | Description |
| --- | --- |
| equipment.xml | Returns the RTLS Equipment records in xml format. |
| select=id | Specifies that the return records should contain the id |
| filter= current-location in '#[variable:insitesCampusId]' and last-inventory-date-time ge '#[sessionVars.syncDate]' | Filters the records returned based on the rules specified. A record is retrieved if: current location is a descendant of the Campus level location represented by the Station AND value of the data time stamp on the last-inventory-date-time is greater than the timestamp of the last record processed |

The data retrieved is in XML format. The ID attribute represents the RTLS system unique identifier for the item of equipment. The ID is analogous to a database primary key within the RTLS system.

When the RTLS timestamp is greater than the timestamp stored in job state persistence file then equipment summary records are returned, another fetch is then performed against RTLS for each item to retrieve the detailed attributes necessary to update the record in AEMS-MERS. This is performed using the REST API of the Infor LBI Platform. See Figure 5 for more information about the process flow.

If the last-inventory-date-time is more recent than the AEMS-MERS inventory date, then AEMS-MERS is updated by executing the VIAA ENG ASSET MOVE RPC using the current VistA context and the following parameters:

Location (SPACE file Pointer)

Physical Inventory Date (date/time)

For more information about how the interface maps RTLS locations to VistA Engineering Space entries, see Appendix D - Mapping RTLS Locations to VistA.

Figure 5: Flowchart for Equipment Inventory

If a location returned from RTLS is unknown to AEMS-MERS, (i.e., the location is not in the ENG SPACE file), a message is sent via the RTLS Messaging API as an alert to provide a mechanism for manual intervention. A MUMPS Style Cross Reference is placed on the ENG SPACE file ROOM NUMBER field to proactively capture ROOM NUMBER changes to the file. If a change is detected, an exception is logged.

#### Static Passive Bulk Inventory Updates

This section is currently depreciated due to it not being applicable for all current sites that are currently supported. However, it is believed that this process will resume in the near future.

The basic flow of the processing is as follows:

This fetch is performed using the Infor LBI RESTful Web Service API. The semantics of this API is documented in InSites_2.0_API_RESTful_Web_Services.pdf. Below is an example of the RESTful API call to RTLS.

http://Server Name/api/2.0/rest/equipment.xml?limit=-1&select=id,uri,attributes&filter=date-entered-current-location ne null and current-location ne null and date-entered-current-location lt ‘2012-08-15T16:33:48.000-05:00’ and external-references.filter(system-key matches ‘.*passive.*’).total-count gt 0 and attributes.filter(name eq ‘last-inventory-date-time’).total-count gt 0

Everything appearing after /api/2.0/rest/ portion defines the query criteria. The following table provides an explanation of the criteria.

Table 4: Explanation of Criteria

| Criteria | Description |
| --- | --- |
| equipment.xml | Returns the RTLS Equipment records in xml format. |
| limit=-1 | Returns all records that meet the criteria. |
| select=id,uri,attributes | Specifies that the records should contain the identification (id), unique record identifier (uri) and attributes fields. |
| filter= | Everything from this point on specifies “filtering” criteria that tells the system which records to return based on these rules. A record will be retrieved: - if the date-entered-current-location field is not null and - the current-location field is not null, and - the value of the data time stamp on the date-entered-current-location is less than the timestamp of the last time the job ran and the asset is passively tagged |

The data retrieved is in XML format, see example below. The ID attribute represents the RTLS system unique identifier for the item of equipment. The ID is analogous to a database primary key within the RTLS system.

Example XML Format:

<value xsd:type=”insites:equipment” element-type=”equipment” id=”Bxcsww” uri=”/api/2.0/rest/equipment/Bxcsww”>

<date-entered-current-location>2012-08-15T16:33:37.000-05:00</date-entered-current-location>

<external-references collapsed=”true”/>

</value>

If the following conditions are met:

  - Asset has a passive tag

  - Asset has not moved to a new location

  - Last Date sensed in location (Physical inventory date from a custom attribute updated by the RTLS passive tag scanner) is more recent than the AEMS-MERS inventory date

- then the interface updates AEMS-MERS with:

Location ID – corresponding to the current location in RTLS

Last Date sensed in location (Physical inventory date)

AEMS-MERS is updated by executing the VIAA ENG ASSET MOVE RPC using the current VistA context and the following parameters:

EE Number

Location (Space file IEN)

Physical Inventory Date

Figure 6: Flowchart for Static Passive Bulk Inventory Update

#### Static Active Bulk Inventory Update

This job iterates through every equipment item in RTLS by sorting on the RTLS system ID for the asset.

The basic flow of the processing is as follows:

This fetch is performed using the Infor LBI RESTful Web Service API. The semantics of this API is documented in InSites_2.0_API_RESTful_Web_Services.pdf. Below is an example of the RESTful API call to RTLS.

http:// Server Name/api/2.0/rest/equipment.xml?select=id,uri,attributes&filter=date-entered-current-location ne null and current-location ne null and date-entered-current-location lt ‘2012-08-15T16:33:48.000-05:00’ and external-references.filter(system-key matches ‘.*passive.*’).total-count eq 0

Everything appearing after /api/2.0/rest/ portion defines the query criteria. The following table provides an explanation of the criteria.

Table 5: Explanation of Criteria

| Criteria | Description |
| --- | --- |
| equipment.xml | Returns the RTLS Equipment records in xml format. |
| select=id,uri,attributes | Specifies that the records contain the id, uri and attributes fields. |
| filter= | Everything from this point on specifies “filtering” criteria that tells the system which records to return based on these rules. A record will be retrieved: - if the date-entered-current-location filed is not null and - the current-location field is not null, - and the value of the data timestamp on the date-entered-current-location is less than the timestamp of the last time the job ran and the asset is actively tagged |

The data retrieved is in an XML format, example below. The ID attribute represents the RTLS system unique identifier for the item of equipment. The ID is analogous to a database primary key within the RTLS system.

Example XML Format:

<value xsd:type=”insites:equipment” element-type=”equipment” id=”Bxcsww” uri=”/api/2.0/rest/equipment/Bxcsww”>

<date-entered-current-location>2012-08-15T16:33:37.000-05:00</date-entered-current-location>

<external-references collapsed=”true”/>

</value>

If the following conditions are met:

  - Asset has an active tag

  - Asset has not moved to a new location

  - Last Date sensed in location (i.e., the physical inventory date calculated based on current timestamp minus a fixed interval of when RTLS last sensed the tag on the network) is more recent than the AEMS-MERS inventory date

- Then the interface updates AEMS-MERS with:

Location ID – corresponding to the current location in RTLS

Last date sensed in location (i.e., calculated date using the fixed interval)

AEMS-MERS is updated by executing the VIAA ENG ASSET MOVE RPC using the current VistA context and the following parameters:

  - EE Number

  - Location (Space file IEN)

  - Physical Inventory Date

Figure 7: Flowchart for Static Active Bulk Inventory Update

### Exception Reporting

Location exception summary reports and notifications are sent to designated RTLS system users to enable them to take necessary corrective actions at their discretion. For more information about how the interface maps RTLS locations to VistA Engineering Space entries, see Appendix D - Mapping RTLS Locations to VistA.

#### Invalid Location Report

Location definitions in RTLS are tied to VistA through the Engineering Space file’s ROOM NUMBER (ENG SPACE #6928). The ROOM NUMBER is stored in RTLS as an External Reference value. This process compares RTLS defined locations with an External Reference value with the entries in the Engineering Space file (ENG SPACE #6928). Locations in RTLS where the external reference value defined does not have a corresponding ENG SPACE file entry are written to an exceptions report. No data is modified in either system. The purpose of the report is to provide VA logisticians and space managers a list of RTLS locations that may need to be manually updated in RTLS to correct the invalid external reference values.

The Invalid RTLS Location Reporting process is a scheduled batch operation that periodically queries the RTLS system via a RESTful API call for a list of locations with External Reference values for comparison to the corresponding Engineering Space File’s ROOM NUMBER (see example below).

Invalid Location Report

12/07/2015

RTLS LOCATION              EXTERNAL REFERENCE:ESF-ROOM-NUMBER

-------------              ----------------------------------

500-100-A201               500 100-A20

The basic flow of the processing is as follows:

This fetch is performed using the Infor LBI RESTful Web Service API. The semantics of this API is documented in InSites_2.0_API_RESTful_Web_Services.pdf. Below is an example of the RESTful API call to RTLS.

http://IntelligentInSitesServerName/api/2.0/api/2.0/rest/locations/by-key/esf-room-number?select=name,external-references.filter%28system-key%20eq%20%27esf-room-number %27%29.external-id&filter=parent-location%20in%20%27#[variable:InsitesParentId]%27

Everything appearing after /api/2.0/rest/ portion defines the query criteria. The following table provides an explanation of the criteria.

Table 6: Explanation of Criteria

| Criteria | Description |
| --- | --- |
| Locations | Returns RTLS location records. |
| by-key/esf-room-number? | Specifies that the records return the third party’s specific key (i.e., esf-room-number). |
| select=name,external-reference | Specifies that the return records should contain the location name and external-reference fields. |
| filter= | Everything from this point on specifies “filtering” criteria that tells the system which records to return based on these rules. A record is retrieved if the following two conditions are true: - the external-id equals “esf-room-number” the location’s parent matches the variable (i.e. VA Facility) passed as a parameter. |

For Each RTLS record returned, Query the ENG SPACE file via a VistaService Web Services call for a corresponding entry.

If entry is not found, add to exceptions report

Else do nothing

If the exception report contains any records, deliver the report to the Infor LBI user(s)

Else deliver a message that states no report was generated because no records were found.

#### Unmapped Location Report

Location definitions in RTLS are tied to VistA through the Engineering Space file’s ROOM NUMBER (ENG SPACE #6928). The ROOM NUMBER is stored in RTLS as an External Reference value. This process detects RTLS locations that do not have RTLS External References tying them back to a VistA space file entry. The process generates a simple report, showing the name of the location from RTLS and the number of asset movement actions that are tied to that location. The report can be used to research which asset locations may need a corresponding VistA space entry based on the frequency at which they occur. (See example below).

RTLS Unmapped Locations

as of

12/03/2015

RTLS Locations                  Nbr of Movements Since System Activation

500 1CA-A103			52

500 1CA-A262			 2

500 E7-101			 1

#### VistA Space File Update Notifications

In addition to the exception reports, changes to the ROOM NUMBER field and new entries added to the ENG SPACE (#6928) file initiate a web service request on the ESB to send a notification to designated users of the RTLS system. The notifications are delivered in near real time. Determining the difference between an update to a ROOM NUMBER field of an existing entry and the creation of a new entry is not possible due to the ROOM NUMBER field serving as the primary key for the interface. Both types of ENG SPACE file updates are treated as new spaces with respect to the notification. See example notifications below.

Figure 8: VistA Space File Update Notifications

## Data Transfer

Data is transferred from RTLS to AEMS-MERS as well as from AEMS-MERS to RTLS using RESTful web service API calls on both ends.

## Transaction Types

Infor LBI RESTful web services contain GET and POST methods. The GET method is used to collect equipment location information and the POST method is utilized to store equipment detail information. The methods are based on standard HTTP methods. The Infor LBI RESTful web services methods return data in XML format.

The VistaService RESTful web services also contain GET and POST methods. The GET methods are used to collect equipment detail information and location information. The POST method is used to store equipment location information. The methods are based on standard HTTP methods. The VistaService methods return XML data to clients by transforming the results of the native Vista carat delimited string format into XML. For more information about the RESTful web service methods used, see Appendix C - VistaService RESTful API Endpoints.

## Data Exchanges

Data exchanged between AEMS-MERS and the RTLS system is outlined in section 6.2.

## Precedence and Criticality

Accurate asset management data is necessary in VA facilities in order for the VA to reduce operation costs, create a more streamlined operation, enhance efficiency, and increase patient safety. Workflow capabilities include but are not limited to activity and tag monitoring, reporting, analysis, and tracking. The interface will improve workflow through the analysis of data provided by RTLS.

## Communications Methods

VistaService and Infor LBI RESTful web services are employed to facilitate communication between RTLS and AEMS-MERS.

RTLS Mule ESB applications orchestrate the AEMS-MERS processes manually or by scheduling polling. Mule ESB flows request data from Infor LBI and VistaService. Mule ESB flows transform the data and make updates based on business rules to VistA and Infor LBI systems via RESTful APIs calls.

## Performance Requirements

Each of the asset tracking interface processes is dependent on the responsiveness of the VistA and RTLS systems which are being synchronized in conjunction with overall wide area network performance. While not bandwidth intensive, network latency can affect overall process performance. On an unburdened test system, the Equipment Inventory processes average about 3-5 assets per second within a local network enclave. Extrapolated, that works out to about 11,000-16,000 assets per hour per job flow. The number of assets at each VAMC varies considerably but a sample site with 50,000 tagged assets would be able to process every asset in 3-4 hours and should be able to process the assets that actually move within a daily time window in less than 3 hours, depending on the number of assets that move during the 24-hour period.

## Security

National Institutes of Technology (NIST)-validated Federal Information Processing (FIPS 140-2) encryption is provided for the encryption of VA sensitive data in transit. The VistA and Infor LBI systems reside behind the VA’s firewall in a private network. The communication protocols used are HTTPS/SSL. Access on both the ESB and Infor LBI servers is protected by account-level username and password which are encrypted using Triple-DES cryptography (PBEWithMD5AndTripleDES) and then encoded as base64 string values. The passwords do not expire. 
Data payloads are validated with:

XML schema

Java Architecture for XML Binding (JAXB)

common validation routines as appropriate

To ensure the systems are communicating with each other, fault tolerance and peak load management is built in using queuing of requests on both VistA and ESB.

The AEMS-MERS interface has a built-in resiliency feature using a new VistA file for temporary storage as a method to mitigate communication failures by providing data redundancy.

# Interface Requirements

## Interface #1 Requirements

AEMS-MERS provides equipment detail information including, but not limited to, a unique equipment identifier, equipment category, manufacturer, model, and serial number related to the equipment being tracked. The equipment details are sent from AEMS-MERS to RTLS. RTLS updates AEMS-MERS with last known physical location and a timestamp for all equipment tracked.

### Interface Processing Time Requirements

RTLS Mule ESB applications orchestrate some AEMS-MERS processes based on a schedule which is adjustable by the System Administrator and other authorized users. Other AEMS-MERS updates to RTLS occur in near real time based on changes in AEMS-MERS triggered by using MUMPS Style Cross References.

The definitions and conditions under which each message is to be sent are defined in section 2 (Interface Definition). For more information about processing time, see Section 2.9 Performance Requirements.

### Message/File Requirements

The conditions that cause messages to be sent are as follows:

From AEMS-MERS to RTLS: This is a triggered process, using MUMPS Style Cross References on the equipment inventory, locations, or equipment category VistA files. For a list of fields with the MUMPS Style Cross Reference set, see the AEMS-MERS SDD.

From RTLS to AEMS-MERS: Changes to Equipment location are sent to AEMS-MERS as a scheduled batch operation.

Data Assembly Characteristics: All messages are exchanged in XML format.

Field/Element Definition

All data elements, along with frequency of update and data directionality, are available in section 6.2 (Data Elements).

### Communication Methods

#### Interface Initiation

Changes to equipment location are detected by the RTLS and sent to AEMS-MERS as part of a scheduled batch operation. Changes to equipment details, locations, and equipment categories are sent from AEMS-MERS to RTLS when a change is detected in AEMS-MERS based on MUMPS Style Cross References.

#### Flow Control

N/A

### Security Requirements

The interface relies solely on network and firewalls through which the systems are connected.

### Physical Requirements

N/A

### Structural Requirements

N/A

### Mechanical Requirements

N/A

### Electrical Requirements

N/A

### Thermal Requirements

N/A

### Special Fluid Requirements

N/A

### Signal Requirements

N/A

## Interface #2 Requirements

N/A

# Interface Verification

The RTLS Master Test Plan outlines the testing objectives and overall plan for testing the AEMS-MERS/RTLS interface. Acceptance testing for the AEMS-MERS/RTLS interface will occur at a Government designated facility.

# Interface Control

## Electrical Interface

N/A

# Appendix A – Data Elements

## Data Structure

N/A

## Data Elements

Data is exchanged through both scheduled jobs which run at a configurable time frequency and data triggered updates of RTLS from VistA via MUMPS Style Cross References. Updates to equipment details from AEMS-MERS to RTLS are based on a data change at the VistA file and field level captured by the MUMPS Style Cross References. Updates detected by VistA’s MUMPS Style Cross References are handled in near real time. Updates to equipment location and physical inventory date from RTLS to AEMS-MERS are based on a scheduled batch job.

Infor LBI RTLS field names are the names exposed through the API. All RTLS field names are related to the Equipment Resource unless otherwise noted.

For the data elements with corresponding AEMS-MERS mappings, if the AEMS-MERS field is not populated, the interface populates the corresponding RTLS field with a blank.

Table 7: AEMS-Entry-Type (custom RTLS attribute)

| RTLS Field | aems-entry-type (custom RTLS attribute) |
| --- | --- |
| AEMS-MERS Field (file ¦ field) | TYPE OF ENTRY (6914 ¦ 7) |
| Data Directionality | To RTLS |
| Security and Privacy Requirement | Read only in RTLS |
| Notes and Pseudo Code | See 6.2.1 RTLS Equipment Type Determination |

Table 8: Annual Value

| RTLS Field | Annual Value |
| --- | --- |
| AEMS-MERS Field (file ¦ field) | Blank – (not mapped) |
| Data Directionality | To RTLS |
| Security and Privacy Requirement | Read only in RTLS |
| Notes and Pseudo Code | Blank out to override any user-modified values in RTLS. This ensures that the data element values remain unpopulated and available for future integrations. |

Table 9: Assigned Location

| RTLS Field | Assigned Location |
| --- | --- |
| AEMS-MERS Field (file ¦ field) | STATION NUMBER (6914 ¦ 60) |
| Data Directionality | To RTLS |
| Security and Privacy Requirement | Read only in RTLS |
| Notes and Pseudo Code | Use STATION NUMBER to do a look up into the location hierarchy table. If the look up is successful, then set Assigned Location using the resulting ID field. Else set Assigned Location to campus level ID in the location hierarchy based on the default STATION NUMBER (6910 ¦ 1) for the Vista Instance. |

Table 10: Capital Equipment

| RTLS Field | Capital Equipment |
| --- | --- |
| AEMS-MERS Field (file ¦ field) | Blank - (not mapped) |
| Data Directionality | To RTLS |
| Security and Privacy Requirement | Read only in RTLS |
| Notes and Pseudo Code | Blank out to override any user-modified values in RTLS. This ensures that the data element values remain unpopulated and available for future integrations. |

Table 11: Current Location

| RTLS Field | Current Location |
| --- | --- |
| AEMS-MERS Field (file ¦ field) | LOCATION (6914 ¦ 24) |
| Data Directionality | To AEMS-MERS |
| Security and Privacy Requirement | Read only in RTLS |
| Notes and Pseudo Code | If Current Location from RTLS is a valid entry in ENG SPACE (#6928) file, then update LOCATION. Otherwise LOCATION remains unchanged, and the exception is logged. |

Table 12: Date Entered Current Location

| RTLS Field | Date Entered Current Location |
| --- | --- |
| AEMS-MERS Field (file ¦ field) | PHYSICAL INVENTORY DATE (6914 ¦ 23) |
| Data Directionality | To AEMS-MERS |
| Security and Privacy Requirement | Read only in RTLS |
| Notes and Pseudo Code | If equipment has moved (i.e. the Date Entered Current Location timestamp is newer than the last job run timestamp) and Date Entered Current Location is newer than PHYSICAL INVENTORY DATE, then set PHYSICAL INVENTORY DATE to Date Entered Current Location. If equipment is actively tagged and the following conditions are true: - Equipment has not changed location - Current timestamp minus time frequency of the not-reporting service run (see explanation below) is newer than PHYSICAL INVENTORY DATE - Not-reporting field in Sensors API resource is false Then set PHYSICAL INVENTORY DATE to current timestamp minus time frequency of the not-reporting service run. The Infor LBI system has a not-reporting service running to monitor tag communication. The service runs at a configurable time frequency (typically every 24 hours). When Infor LBI loses communication with a tag, the not-reporting flag is set to true. The interface code will query the not-reporting API field. If the tag is still communicating and the equipment has not changed location the PHYSICAL INVENTORY DATE is set to an approximation of the last time the not-reporting service was run (i.e. the last time Infor LBI knew where the asset was). If the not-reporting flag is set to true, PHYSICAL INVENTORY DATE is not updated. |

Table 13: Equipment Type

| RTLS Field | Equipment Type |
| --- | --- |
| AEMS-MERS Field (file ¦ field) | CATEGORY STOCK NUMBER (6914 ¦ 18) (pointer to 6917 ¦ .01) |
| Data Directionality | To RTLS |
| Security and Privacy Requirement | Read only in RTLS |
| Notes and Pseudo Code | See 6.2.1 RTLS Equipment Type Determination |

Table 14: Expiration

| RTLS Field | Expiration |
| --- | --- |
| AEMS-MERS Field (file ¦ field) | Blank - (not mapped) |
| Data Directionality | To RTLS |
| Security and Privacy Requirement | Read only in RTLS |
| Notes and Pseudo Code | Blank out to override any user-modified values in RTLS. This ensures that the data element values remain unpopulated and available for future integrations. |

Table 15: External References (for Equipment)

| RTLS Field | External References (for Equipment) |
| --- | --- |
| AEMS-MERS Field (file ¦ field) | ENTRY NUMBER (6914 ¦ 0.01) |
| Data Directionality | To RTLS |
| Security and Privacy Requirement | Read only in RTLS. |
| Notes and Pseudo Code | Key-Value pair where the key = eenumber and the value is: Vista # (6910 ¦ 1) EE NUMBER (6914 ¦.01) Example of value: 506 EE23456 |

Table 16: External References (for Locations)

| RTLS Field | External References (for Locations) |
| --- | --- |
| AEMS-MERS Field (file ¦ field) | ROOM NUMBER (6928 ¦ .01) |
| Data Directionality | To RTLS |
| Security and Privacy Requirement | Read only in RTLS. |
| Notes and Pseudo Code | Key-Value pair where the key = esf-room-number and the value is: Vista # (6910 ¦ 1) ROOM NUMBER (6928 ¦ .01) Example of value: 506 1C01-2 Note: The above example represents a one-to-one mapping between RTLS and the ENG SPACE file. Multiple RTLS locations can be mapped to a single ENG SPACE file entry using the “¦” delimiter. For more information, see Appendix D - Mapping RTLS Locations to VistA. |

Table 17: Fixed Asset Number

| RTLS Field | Fixed Asset Number |
| --- | --- |
| AEMS-MERS Field (file ¦ field) | VistA # (6910 ¦ 1) ENTRY NUMBER (6914 ¦ .01) |
| Data Directionality | To RTLS |
| Security and Privacy Requirement | Read only in RTLS |
| Notes and Pseudo Code | Concatenate fields as follows: [VistA #] EE[ENTRY NUMBER] |

Table 18: Last-Inventory-Date-Time

| RTLS Field | Last-inventory-date-time |
| --- | --- |
| AEMS-MERS Field (file ¦ field) | PHYSICAL INVENTORY DATE (6914 ¦ 23) |
| Data Directionality | To AEMS-MERS |
| Security and Privacy Requirement | Read only in RTLS |
| Notes and Pseudo Code | If equipment is passively tagged and the following conditions are true: - Equipment has not changed location (i.e. the last-inventory-date-time timestamp is not older than the job run timestamp) - Last-inventory-date-time is newer than PHYSICAL INVENTORY DATE Then set PHYSICAL INVENTORY DATE to Last-inventory-date-time. Note: Last-inventory-date-time is a custom attribute containing the last time the passive tag was scanned. |

Table 19: Manufacturer

| RTLS Field | Manufacturer |
| --- | --- |
| AEMS-MERS Field (file ¦ field) | MANUFACTURER (6914 ¦ 1) |
| Data Directionality | To RTLS |
| Security and Privacy Requirement | Read only in RTLS |
| Notes and Pseudo Code |  |

Table 20: Model

| RTLS Field | Model |
| --- | --- |
| AEMS-MERS Field (file ¦ field) | MODEL (6914 ¦ 4) |
| Data Directionality | To RTLS |
| Security and Privacy Requirement | Read only in RTLS |
| Notes and Pseudo Code |  |

Table 21: Name

| RTLS Field | Name |
| --- | --- |
| AEMS-MERS Field (file ¦ field) | EQUIPMENT CATEGORY (6914 ¦ 6) (pointer to 6911 ¦ .01) VistA # (6910 ¦ 1) ENTRY NUMBER (6914 ¦ 0.01) |
| Data Directionality | To RTLS |
| Security and Privacy Requirement | Read only in RTLS |
| Notes and Pseudo Code | To ensure each equipment definition remains unique nationally but also contains a descriptive name for end users, the Name is comprised of: [EQUIPMENT CATEGORY] ¦ [VistA # ] EE[ENTRY NUMBER] Example: Infusion Pump: General Purpose ¦ 506 EE23456 |

Table 22: Notes

| RTLS Field | Notes |
| --- | --- |
| AEMS-MERS Field (file ¦ field #) | EQUIPMENT CATEGORY (6914 ¦ 6) (pointer to (6911.02 ¦ 0.01) MFGR. EQUIPMENT NAME (6914 ¦ 3) PARENT SYSTEM (6914 ¦ 2) PURCHASE ORDER # (6914 ¦ 11) RESPONSIBLE SHOP (6914 ¦ 30) SERVICE POINTER (6914 ¦ 21) STATION NUMBER (6914 ¦ 60) TYPE OF ENTRY (6914 ¦ 7) USE STATUS (6914 ¦ 20) DISPOSITION DATE (6914 ¦ 22) CATEGORY STOCK NUMBER (6914 ¦ 18) |
| Data Directionality | To RTLS |
| Security and Privacy Requirement | Read only in RTLS |
| Notes and Pseudo Code | The Notes field in RTLS contains multiple AEMS-MERS data fields to enhance the ability to search. The AEMS-MERS field value is concatenated together with the AEMS-MERS field name. The string will display in the user interface as label-value pairs. Label is VistA field name unless otherwise specified. The order of the fields is as follows: - STATION NUMBER - MFGR. EQUIPMENT NAME - EQUIPMENT CATEGORY (label as: VAMDNS CODE) - SERVICE POINTER - RESPONSIBLE SHOP - TYPE OF ENTRY - PURCHASE ORDER # (label as: Purchase Order No.) - PARENT SYSTEM - USE STATUS - DISPOSITION DATE - CATEGORY STOCK NUMBER For VAMDNS CODE field, search SYNONYM (6911.02 ¦ 0.01) looking for occurrences of ‘U$’.If one or more ‘U$’ occurrences are found, then use the first one. If no valid ‘U$’ occurrence is found, leave VAMDNS CODE value blank. RESPONSIBLE SHOP is a pointer from a multiple field (i.e., there can be more than one RESPONSIBLE SHOP per equipment record). Only the first RESPONSIBLE SHOP is passed to Infor LBI. The Notes field is displayed in the RTLS UI as Additional Notes. |

Table 23: Owner

| RTLS Field | Owner |
| --- | --- |
| AEMS-MERS Field (file ¦ field) | CMR (6914 ¦ 19) BRIEF DESCRIPTION (6914.1 ¦ 0.6) |
| Data Directionality | To RTLS |
| Security and Privacy Requirement | Read only in RTLS |
| Notes and Pseudo Code | Format of the Owner field is: [BRIEF DESCRIPTION] [CMR] |

Table 24: Placed in Service

| RTLS Field | Placed in Service |
| --- | --- |
| AEMS-MERS Field (file ¦ field) | ACQUISITION DATE (6914 ¦ 13) |
| Data Directionality | To RTLS |
| Security and Privacy Requirement | Read only in RTLS |
| Notes and Pseudo Code |  |

Table 25: Secondary Fixed Asset Number

| RTLS Field | Secondary Fixed Asset Number |
| --- | --- |
| AEMS-MERS Field (file ¦ field) | Blank - (not mapped) |
| Data Directionality | To RTLS |
| Security and Privacy Requirement | Read only in RTLS |
| Notes and Pseudo Code | Blank out to override any user-modified values in RTLS. This ensures that the data element values remain unpopulated and available for future integrations. |

Table 26: Serial Number

| RTLS Field | Serial Number |
| --- | --- |
| AEMS-MERS Field (file ¦ field) | SERIAL # (6914 ¦ 5) |
| Data Directionality | To RTLS |
| Security and Privacy Requirement | Read only in RTLS |
| Notes and Pseudo Code |  |

Table 27: Service Status

| RTLS Field | Service Status |
| --- | --- |
| AEMS-MERS Field (file ¦ field) | USE STATUS (6914 ¦ 20) |
| Data Directionality | To RTLS |
| Security and Privacy Requirement | Read only in RTLS |
| Notes and Pseudo Code | If USE STATUS = “IN USE” and DISPOSITION DATE (6914 ¦ 22) = Null, then associate existing Service Status ID to reflect “In Service” otherwise associate existing Service Status ID to reflect “Not In Service”. Note: The interface does not set the Service Status strings but rather associates the existing RTLS Service Status ID values. |

Table 28: Short Name

| RTLS Field | Short Name |
| --- | --- |
| AEMS-MERS Field (file ¦ field) | Based on value stored in RTLS Equipment Type field. |
| Data Directionality | To RTLS |
| Security and Privacy Requirement | Read only in RTLS |
| Notes and Pseudo Code | First four characters of the RTLS Equipment Type field. (Note: In the event a RTLS Equipment Record cannot be matched to an Equipment Entry in AEMS-MERS, the interface will populate ‘ERR404’ in the Short Name Field. This will enable users to easily identify records that have no match in AEMS-MERS, therefore cannot be updated with asset details.) |

Table 29: Value

| RTLS Field | Value |
| --- | --- |
| AEMS-MERS Field (file ¦ field) | TOTAL ASSET VALUE (6914 ¦ 12) |
| Data Directionality | To RTLS |
| Security and Privacy Requirement | Read only in RTLS |
| Notes and Pseudo Code |  |

### RTLS Equipment Type Determination

The RTLS Equipment Type for individual equipment items is determined using two different AEMS-MERS fields (Type of Entry and Category Stock Number) and interface business logic. Not all AEMS-MERS equipment item have valid CSNs. Items without valid CSNs are mapped to appropriate “uncategorized” buckets by Type of Entry, allowing for manual Equipment Type categorization within the Infor LBI User Interface. The Type of Entry values checked in the below pseudo code are:

- NX for Non-Expendable Equipment

- BSE for Building Service Equipment

- EXP for Expendable Equipment

Note: The interface does not set the Equipment Type strings but rather associates the existing RTLS Equipment Type ID values.

The following pseudo code outlines the mapping solution:

When TYPE OF ENTRY (6914 | 7) equals NX

Do a lookup from the equipment type table by using CATEGORY

STOCK NUMBER (6914 | 18)

If the lookup is successful

Associate existing Equipment type using the resulting ID field

Otherwise

Associate existing Equipment Type ID for AEMS/MERS Uncategorized NX

End If

Set aems-entry-type = NX

End When

When TYPE OF ENTRY (6914 | 7) equals EXP

If TYPE OF ENTRY (6914 | 7) is equal to aems-entry-type

Leave Equipment Type unchanged (i.e. preserve RTLS user assigned

EquipmentType)

Leave aems-entry-type unchanged

Otherwise

If aems-entry-type equals BSE

If Equipment Type equals Uncategorized BSE

Associate existing Equipment Type ID for AEMS/MERS Uncategorized

EXP

Otherwise

Leave Equipment Type unchanged (i.e. preserve RTLS user assigned

Equipment Type)

End If

Otherwise

Associate existing Equipment Type ID for AEMS/MERS Uncategorized

EXP

End If

Set aems-entry-type = EXP

End If

End When

When TYPE OF ENTRY (6914 | 7) equals BSE

If TYPE OF ENTRY (6914 | 7) is equal to aems-entry-type

Leave Equipment Type unchanged (i.e. preserve RTLS user assigned

Equipment Type)

Leave aems-entry-type unchanged

Otherwise

If aems-entry-type equals EXP

If Equipment Type equals Uncategorized EXP

Associate existing Equipment Type ID for AEMS/MERS Uncategorized

BSE

Otherwise

Leave Equipment Type unchanged (i.e. preserve user assigned

Equipment Type)

End If

Otherwise

Associate existing Equipment Type ID for AEMS/MERS Uncategorized BSE

End If

Set aems-entry-type = BSE

End If

End When

When TYPE OF ENTRY (6914 | 7) is null or blank

Associate existing Equipment Type ID for AEMS/MERS Uncategorized Null

Set aems-entry-type = null

End When

# Appendix B – ESB Orchestration Endpoints

This appendix describes the business processes “orchestrations” implemented on the Mule Enterprise Service Bus (ESB). All of the orchestrations are mutable meaning that executing them has permanent side effects. Due to the intricate inter-relationships between various components of distributed systems, some seemingly open interfaces should only be used within their designed framework. These instances are noted. Calling these orchestrations from origins outside the RTLS interface design could have serious consequences impacting data in various systems of record.

## Equipment Detail Updates

This orchestration is used to perform the update of asset details for a single asset. Upon invocation, it attempts to extract asset details for the specified VistA Equipment Inventory record and push those to RTLS. This orchestration is invoked by calling the service endpoint defined below:

https://esb_hostname/esb/assettrax/services/equipment/details?siteID=999&ien=12345

Where:

siteID = the VistA instance number

ien = the IEN from the Equipment Inventory file (i.e., the part of the EE# to the right of ‘EE’)

The successful response for this service is strictly an HTTP 200/Success response with a text string “Updated Equipment 999 EE12345 Response Code: 200” as the message body.

All exceptions will generate an HTTP 500 – Internal Server Error response.

This orchestration is currently invoked in two ways. First by the Health-e-Vet Web Service Client posting a VistA triggered event to the RTLS interface, and secondly by the New Asset Detail Population RTLS interface orchestration.

### VistaService Dependency

- Individual Equipment Details (See Section 8.1).

## New Asset Detail Population

This orchestration is used to detect all “new assets” in the RTLS system and initialize the RTLS asset details with values from AEMS-MERS. After selecting the list of relevant assets from RTLS, it performs the remainder of its work by iteratively calling the Equipment Detail Updates orchestration for each asset.

This orchestration is invoked by calling the service endpoint defined below:

https://esb_hostname/esb/assettrax/services/equipment/new-assets?vista=999&station=999A1

Where:

vista = the VistA instance number where the asset exists

station = the sta6n identifier of the VA campus owning the assets

The successful response for this service is strictly an HTTP 200/Success response with a string “Done processing new assets for station: 999A1 – vista: 999” as the message body.

All exceptions will generate an HTTP 500 – Internal Server Error response.

This orchestration is invoked by a quartz scheduler service running on another server.

## Moved Equipment Inventory

This orchestration is used to detect all assets in RTLS which have moved since the last successful run and to update AEMS-MERS with the current location and inventory date. This orchestration is invoked by calling the service endpoint defined below:

https://esb_hostname/esb/assettrax/services/equipment/moved?vista=999&station=999A1&synchronizeDate=YYYY-MM-DDThh:mm:ss.sss-ZZ:ZZ

Where:

vista = the VistA instance number where the asset exists

station = the sta6n identifier of the VA campus owning the assets

synchronizeDate = the date of most recent successful run of this interface as provided by the quartz scheduler service

The successful response for this service is strictly an HTTP 202/Success response with an XML body:

<Success>

<code>202</code>

<message>Accepted</message>

</Success>

All exceptions will generate a custom response accompanying an HTTP 500 status.

<ErrorMessage>

<code>500</code>

<message>Internal Server Error</message>

</ErrorMessage>

This orchestration is invoked by a quartz scheduler service running on another server. Calling the orchestration by any other process is highly discouraged.

### VistaService Dependencies

- Individual Equipment Details (See Section 8.1)

- Update Equipment Inventory (See Section 8.7)

## Static Equipment Inventory (Active Tagged)

This orchestration is used to detect all assets in RTLS which have not moved since the last successful run but are still detectable by the network, and to update AEMS-MERS with the last known inventory date. The inventory date is calculated as the current timestamp minus an assurance interval as to when the RTLS system last detected the sensor on the network. This orchestration is invoked by calling the service endpoint defined below:

https://esb_hostname/esb/assettrax/services/equipment/inventory/static/active?vista=999&station=999A1&synchronizeDate=YYYY-MM-DDThh:mm:ss.sss-ZZ:ZZ

Where:

vista = the VistA instance number where the asset exists

station = the sta6n identifier of the VA campus owning the assets

synchronizeDate = the date of most recent successful run of this interface as provided by the quartz scheduler service

The successful response for this service is strictly an HTTP 202/Success response with an XML body:

<Success>

<code>202</code>

<message>Accepted</message>

</Success>

All exceptions will generate a custom response accompanying an HTTP 500 status.

<ErrorMessage>

<code>500</code>

<message>Internal Server Error</message>

</ErrorMessage>

This orchestration is invoked by a quartz scheduler service running on another server. Calling the orchestration by any other process is highly discouraged.

### VistaService Dependencies

- Individual Equipment Details (See Section 8.1)

- Update Equipment Inventory (See Section 8.7)

## Static Equipment Inventory (Passive Tagged)

This orchestration is used to detect all assets in RTLS which have not moved since the last successful run but have been scanned/detected by the RTLS passive receivers, and to update AEMS-MERS with the last scanned inventory date. This is currently depreciated due to it not being applicable for all current sites that are supported. However, it is believed that this process will resume in the near future. This orchestration is invoked by calling the service endpoint defined below:

https://esb_hostname/esb/assettrax/services/equipment/inventory/static/passive?vista=999&station=999A1&synchronizeDate=YYYY-MM-DDThh:mm:ss.sss-ZZ:ZZ

Where:

vista = the VistA instance number where the asset exists

station = the sta6n identifier of the VA campus owning the assets

synchronizeDate = the date of most recent successful run of this interface as provided by the quartz scheduler service

The successful response for this service is strictly an HTTP 202/Success response with an XML body:

<Success>

<code>202</code>

<message>Accepted</message>

</Success>

All exceptions will generate a custom response accompanying an HTTP 500 status.

<ErrorMessage>

<code>500</code>

<message>Internal Server Error</message>

</ErrorMessage>

This orchestration is invoked by a quartz scheduler service running on another server. Calling the orchestration by any other process is highly discouraged.

### VistaService Dependencies

- Individual Equipment Details (See Section 8.1)

- Update Equipment Inventory (See Section 8.7)

## Space Fie Notification

This orchestration notifies designated RTLS Administrator users when entries in the AEMS-MERS Engineering Space file are created or modified. It does not perform any actual updates to RTLS locations, but instead, it notifies the user that the event has occurred. This orchestration is invoked by calling the service endpoint defined below:

https://esb_hostname/esb/assettrax/services/location/details?site=999&ien=12345

Where:

site = the VistA instance number where the asset exists

ien = the IEN from the Engineering Space file

The successful response for this service is strictly an HTTP 200/Success response with a text string “Done process location details for site: 999 – IEN: 123” as the message body.

All exceptions will generate a custom response accompanying an HTTP 500 status.

<ErrorMessage>

<code>500</code>

<message>Internal Server Error</message>

</ErrorMessage>

This orchestration is currently invoked by the Health-e-Vet Web Service Client posting a VistA triggered event to the RTLS interface.

### VistaService Dependency

- Individual Location (see Section 8.4)

## Invalid Location Report (Locations with invalid External Reference)

This orchestration generates a report containing RTLS locations configured with invalid external reference values pointing to the AEMS-MERS space file. This report is delivered to designated RTLS administrative users via an RTLS notification message containing a URL that points to the report. This orchestration is invoked by calling the service endpoint defined below:

https://esb_hostname/esb/assettrax/services/location/invalid/report?vista=999&station=999A1

Where:

vista = the VistA instance number where the asset exists

station = the sta6n identifier of the VA campus containing the locations in the RTLS location hierarchy

The successful response for this service is strictly an HTTP 200/Success response with a text string “Done processing invalid location report” as the message body.

All exceptions will generate a custom response accompanying an HTTP 500 status.

<ErrorMessage>

<code>500</code>

<message>Internal Server Error</message>

</ErrorMessage>

This orchestration is invoked by a quartz scheduler service running on another server. Calling the orchestration by any other process is highly discouraged.

### VistaService Dependency

- Individual Location (see Section 8.4)

## Unmapped Location Report (Locations without External Reference)

This orchestration generates a report containing RTLS locations that are missing external reference values to map to AEMS-MERS space file entries. This report is delivered to designated RTLS administrative users via an RTLS notification message containing a URL that points to the report. This orchestration is invoked by calling the service endpoint defined below:

https://esb_hostname/esb/assettrax/services/location/report?vista=999&station=999A1

Where:

vista = the VistA instance number where the asset exists

station = the sta6n identifier of the VA campus containing the locations in the RTLS location hierarchy

The successful response for this service is strictly an HTTP 200/Success response with a text string “Done processing unmapped location report” as the message body.

All exceptions will generate a custom response accompanying an HTTP 500 status.

<ErrorMessage>

<code>500</code>

<message>Internal Server Error</message>

</ErrorMessage>

This orchestration is invoked by a quartz scheduler service running on another server. Calling the orchestration by any other process is highly discouraged.

### VistaService Dependency

- Individual Location (see Section 8.4)

# Appendix C - VistaService RESTful API Endpoints

The primary purpose of the VistaService RTLS RESTful web services is to provide a uniform calling method for the integration between RTLS COTS products and existing VA systems (e.g., VistA). These web service APIs are not published for public use, but rather as a method of documenting the interface design. Use of these API methods outside of the context for which they are intended is not recommended without a thorough impact analysis. Even use of the read-only services could produce a system load that was not planned in the system design. While reuse of services is a good SOA practice, caution should be exercised to avoid adverse performance consequences. Reuse of any mutable service methods should be restricted to RTLS applications only to ensure proper auditing of changes.

The VistaService executes RPC calls as an RTLS Application Proxy user. This is designed for server-to-server interactions and is not conducive to use by human end-users. Use of these services by non-service processes will not allow for human end user audit trails to be captured by VistA.

The VistaService API methods use a RESTful approach to accept requests expressed as HTTP argument/value pairs. Requests may be made by using the HTTP protocol with SSL and basic authentication. Responses are returned in XML format.

Each request can be expressed in the following general format:

- Resource URI - A fully qualified distinct path to a particular service method or specific resource object. For example:

https://hostname/vistaservice/api/{resource}

or

https://hostname/vistaservice/api/{resource qualifier}/{second qualifier}/{resource}

- Request arguments – request arguments are the argument value pairs that make up the request.

Response message - XML responses are being generated dynamically by the JAXB annotations of model objects, so the XML responses provided are representative examples.

## Individual Equipment Details

This is a read-only service that gets the asset details for the specified EE Number from the Equipment Inventory file of the specified VistA instance by calling the VIAA ENG GET DATA RPC with the EQUIPMENT parameter.

### Sample Request and Successful Response

GET /vistaservice/api/equipment/950/950%20EE10

Where:

- 950 = VistA instance number

- 950%20EE10 = Individual equipment item (i.e., the VistA instance number followed by “EE” and then the IEN)

Note: in the above method, as well as all other methods, the %20 is a URL encoded space character.

<AemsEquipment>

<acquisitionDate>1997-04-10T00:00:00-04:00</acquisitionDate>

<categoryName>GENERAL</categoryName>

<categorySynonym>

<synonym>U$10447</synonym>

</categorySynonym>

<cmrDescription>TEST CMR</cmrDescription>

<cmrNumber>140</cmrNumber>

<dateIntoAems>2013-05-09T00:00:00-04:00</dateIntoAems>

<defaultStationNumber>950</defaultStationNumber>

<equipmentID>950 EE10</equipmentID>

<manufacturer>JADE CORP</manufacturer>

<model>75690</model>

<name>LAPAROSCOPE</name>

<orderNumber>950-J2345</orderNumber>

<serialNumber>M-WERTTYUOP</serialNumber>

<service>ENGINEERING</service>

<status>Available</status>

<useStatus>IN USE</useStatus>

</AemsEquipment>

### Sample Request and Error Response

GET /vistaservice/api/equipment/950/950%20EE39999

Where:

950 = VistA Instance number

950%20EE39999 = Individual equipment item that does not exist

<ErrorMessage>

<code>404</code>

<message>Not Found</message>

</ErrorMessage>

## Equipment Listing

This is a read-only service that gets the complete list of assets from the Equipment Inventory file of the specified VistA instance by calling the VIAA ENG GET DATA RPC with the EQUIPMENT parameter.

### Sample Request and Successful Response

GET /vistaservice/api/equipment/950

Where:

950 = VistA Instance number

<AemsEquipments>

<AemsEquipment>

<equipmentID>950 EE1</equipmentID>

<status>Available</status>

</AemsEquipment>

<AemsEquipment>

<equipmentID>950 EE10</equipmentID>

<status>Available</status>

</AemsEquipment>

<AemsEquipment>

<equipmentID>950 EE100</equipmentID>

<status>Available</status>

</AemsEquipment>

<AemsEquipment>

<equipmentID>950 EE1000</equipmentID>

<status>Available</status>

</AemsEquipment>

...

</AemsEquipments>

## Location Listing

This is a read-only service that gets the complete list of Space file entries from the specified VistA instance by calling the VIAA ENG GET DATA with the LOCATION parameter.

### Sample Request and Successful Response

GET /vistaservice/api/location/950

Where:

950 = VistA Instance number

<AemsLocations>

<AemsLocation>

<ien>1</ien>

<roomNumber>101</roomNumber>

</AemsLocation>

<AemsLocation>

<ien>6</ien>

<roomNumber>106</roomNumber>

</AemsLocation>

<AemsLocation>

<ien>3</ien>

<roomNumber>102-77-D</roomNumber>

</AemsLocation>

<AemsLocation>

<ien>4</ien>

<roomNumber>103-100-MED</roomNumber>

</AemsLocation>

<AemsLocation>

<ien>18</ien>

<roomNumber>103-L103</roomNumber>

</AemsLocation>

...

</AemsLocations>

### Sample Request and Error Response

GET /vistaservice/api/location/9501

Where:

9501 = a non-existent VistA instance

Generates an HTTP 500 Internal Server Error

## Individual Location

This is a read-only service that gets the single Space file entry for the specified IEN from the specified VistA instance by calling the VIAA ENG GET DATA RPC with the LOCATION parameter.

### Sample Request and Successful Response

GET /vistaservice/api/location/950/1

Where:

950 = VistA instance number

1 = Space file IEN

<AemsLocation>

<ien>1</ien>

<roomNumber>101</roomNumber>

</AemsLocation>

### Sample Request and Error Responses

GET /vistaservice/api/location/950/13000

Where:

13000 = a non-existent IEN in the target space file

<ErrorMessage>

<code>404</code>

<message>Not Found</message>

</ErrorMessage>

HTTP 500 on any other failure

## Individual Equipment Category

This is a read-only service that gets the equipment category matching the specified name from the specified VistA instance by calling the VIAA ENG GET DATA RPC with the CATEGORY parameter.

### Sample Request and Successful Response

GET /vistaservice/api/category/950/AIR%20CLNR%20ION

Where:

950 = VistA instance number

AIR%20CLNR%20ION = Category

<AemsCategorys>

<AemsCategory>

<ien>1</ien>

<name>AUDIOMETER</name>

</AemsCategory>

</AemsCategorys>

### Sample Request and Error Responses

GET /vistaservice/api/category/950/invalidDescription

Where:

950 = VistA instance number

invalidDescription = an invalid category

<ErrorMessage>

<code>404</code>

<message>Not Found</message>

</ErrorMessage>

HTTP 500 on any other failure

## Equipment Category Listing

This is a read-only service that gets the complete list of equipment categories from the specified VistA instance by calling VIAA ENG GET DATA with the CATEGORY parameter.

### Sample Request and Successful Response

GET /vistaservice/api/category/950

Where:

950 = VistA instance number

<AemsCategorys>

<AemsCategory>

<ien>1</ien>

<name>AUDIOMETER</name>

</AemsCategory>

<AemsCategory>

<ien>2</ien>

<name>AIR CLNR ION</name>

</AemsCategory>

<AemsCategory>

<ien>3</ien>

<name>laser device</name>

</AemsCategory>

...

</AemsCategorys>

### Error Response

HTTP 500 on any failure

## Update Equipment Inventory

This REST API call is a “mutable” call, meaning that it permanently modifies data in a system of record. It updates the location and physical inventory date fields for the specified asset in the specified VistA instance by calling the VIAA ENG ASSET MOVE RPC. Calling this endpoint from a process outside the RTLS interface is not recommended.

POST /vistaservice/api/equipment/950

### Form Parameters

The form parameters must include:

aemsId = the EE number of the asset (i.e., '950 EE1234')

locId = the ROOM NUMBER of a valid space file entry for the specified siteId

timestamp = the inventory time as recorded in RTLS

### Responses

HTTP 200 on success or known error condition

<Success>

<code>200</code>

<message>OK</message>

</Success>

HTTP 404 on resource not found

<ErrorMessage>

<code>404</code>

<message>Not Found</message>

</ErrorMessage>

HTTP 500 on any other failures

# Appendix D – Mapping RTLS Locations to VistA

In some circumstances, in order to provide appropriate hardware coverage for an area, RTLS needs to divide an existing physical space as defined as a single entry in the Engineering Space (i.e., ENG SPACE (#6928)) file into multiple RTLS locations. The location to space mapping has been achieved by tying RTLS locations to AEMS-MERS spaces by an External Reference key/value pair that relates back to a specific VistA instance and Engineering Space file ROOM NUMBER. The combination of key and value must be distinct since there is a unique constraint which ensures the ability to look up precisely a single record from RTLS via the key/value combination.

In order to accommodate the above scenario, the solution supports mapping multiple RTLS locations to a single Engineering Space by appending a suffix to the External Reference value which can be easily stripped away. The suffix allows the values to remain unique within RTLS and stripping the suffix away allows the location to be related directly back to the corresponding Engineering Space record.

## Format of External References

Two formats are supported, allowing references with or without a suffix for simple one-to-one correlations of locations to spaces and adding the ability to use suffixes where multiple locations refer to the same Engineering Space. This allows a theoretically infinite number of RTLS Location entries to be mapped to a single Engineering Space entry while still remaining unique within the RTLS system.

### One-to-one Format

System-key:	esf-room-number

External-Id:	999 1A01-2

where:

- 999 is the VistA instance number

- 1A01-2 is the Engineering Space file room number

### Many-to-one Format

System-key:	esf-room-number

External-Id:	999 1A01-2|1

where:

- 999 is the VistA instance number

- 1A01-2 is the Engineering Space file room number

- 1 is the sequential numeric suffix delimited by a “|” pipe character

### Example of Many-to-one Mapping

In the below example, three RTLS locations comprise a single corridor representing an area that covers room entrances A203, A204, and A205. The corridor is represented by a single Engineering Space entry. In Infor LBI, the three records would be represented as follows:

RTLS Location:  636-DET-01-CORRIDOR_A203

- System-key: esf-room-number

- External-Id: 636 DET-01|1

RTLS Location:  636-DET-01-CORRIDOR_A204

System-key: esf-room-number

External-Id: 636 DET-01|2

RTLS Location:  636-DET-01-CORRIDOR_A205

System-key: esf-room-number

External-Id: 636 DET-01|3

Having the suffix of “|1”, “|2”, or “|3” allows the External Reference key/value pair to remain unique, but by stripping off the suffix it allows the interface to tie back to the VistA Engineering Space entry. This solution ensures that equipment inventory updates occurring while equipment is in ANY of the three locations continues to update the inventory location and physical inventory date in VistA.

# Appendix E - Acronyms

The following table contains a list of acronyms used in this document and their explanations.

Table 30: Acronyms

| Acronym | Explanation |
| --- | --- |
| AEMS-MERS | Automated Engineering Management System-Medical Equipment Reporting System |
| API | Application Programming Interface |
| BSE | Building Service Equipment |
| COTS | Commercial Off the Shelf |
| ESB | Enterprise Service Bus |
| ESE | Enterprise Systems Engineering |
| EXP | Expendable Equipment |
| FIPS | Federal Information Processing Standard |
| HP or HPES | Hewlett-Packard Enterprise Services |
| HTTP/SSL | Hypertext Transport Protocol/Secure Sockets Layer |
| ICD | Interface Control Document |
| ID | Identification |
| IEN | Internal Entry Number |
| IP | Internet Protocol |
| JAXB | Java Architecture for XML Binding |
| JAX-RS | Java API for RESTful Web Services |
| MUMPS | Massachusetts General Hospital Utility Multi-Programming System |
| NIST | National Institutes of Technology |
| NX | Non-Expendable Equipment |
| PMO | Program Management Office |
| PMO | Program Management Office |
| POC | Point of Contact |
| REST | Representational State Transfer |
| RPC | Remote Procedure Call |
| RTLS | Real Time Location System |
| TCP/IP | Transmission Control Protocol/Internet Protocol |
| URL | Uniform Resource Locator |
| VA | Department of Veterans Affairs |
| VAMC | Veterans Affairs Medical Center |
| VistA | Veterans Health Information Systems and Technology Architecture |
| XML | eXtensible Markup Language |